February 2018 General Meeting
Pledge of Allegiance
Welcome of Visitors and Guests
Hams in Need

---
February 2018 General Meeting
Jan 2018 Meeting Minutes Approval
Treasurer's Report
Vice President's Report
Technical Committee Report
Emergency Coordinator's Report
Red Cross Liaison

---
Treasurer’s Report
Treasurer’s Report
Checking	$ 1,633.58
Equipment Fund	$ 1,277.33
Cash	$ 20.00
Undeposited funds $	0.00
Total Club Funds	$ 2,930.91
Larry Hendersin, KK4WDD

---
Technical Committee Report
Technical Committee Report
All repeaters are operational
37 Repeater in analog FM Mode, 88 repeater is in automode
220 MHz repeater (AJ4IR) on-line on Broadcast Court Tower (390 feet elevation)
Uplink 222.520 MHz (input)
Downlink 224.120 MHz (output)
Tone 123 Hz

---
Technical Committee Report (cont)
Technical Committee Report (cont)
Yaesu DR-2X Fusion repeaters will be not be installed, will retain existing DR-1X units
Will review Fusion options with DR-1X units (upgrade firmware to DG-ID option as used with DR-2X units)

---
Upcoming Events
Upcoming Events
Feb 09-11 Orlando Hamcation	Central Florida Fairgrounds
Feb 17	QRP Saturday
Mar 10	MS Walk (Church at Viera)

---
New Business
New Business
Central Net Equipment Replacement Project

---
Central Net Equipment Replacement Project
Central Net Equipment Replacement Project
Issue: Loss of Central Net Station poses potential communications gap across Brevard County during hurricane or other disaster if we lose repeater coverage
IRARC Project Team formed to examine alternatives to restore Central Net station
During Hurricane Irma, VHF station was set up at Wuestoff Hospital operated through repeaters
Club Station at Red Cross (Rockledge) was not activated since did not they did not open up their shelter

---
Project Team Recommendations
Project Team Recommendations
Conduct Primary Central Net Operations at Wuestoff Hospital
Hospital has excellent supplied power
FPL priority for restoral
Generator backup
Hospital on high ground with antennas above 6th Floor (over 100 feet elevation)
Establish Backup Central Net Operations at Rockledge Red Cross IRARC Station
Shelter comm required if activated
Need better antennas and backup power

---
Operations Requirements (Each Site)
Operations Requirements (Each Site)
Two operator console operations
Provide a dual receiver FM radio for VHF/UHF ops
Central Net to EOC
Central Net to North/South County
Second dual receiver FM radio for VHF/UHF ops
Coordinate NBEMS/shelter traffic requests
Third multimode VHF/UHF radio for long range operations
Dedicated antennas for simplex operations
Do not assume repeaters will be operational
Antennas installed with gain and elevation to allow ops from Central Brevard to South/North County

---
Recommended Equipment (each site)
Recommended Equipment (each site)
Station VHF/UHF Radios:
FM ops – Yaesu FT-8900Rs
Dual receive / 50 W (VHF) / 35 W (UHF)
Cross-band repeat backup capability
Portable Roving Ops – Baufang (or other low cost HTs)
Five HTs at each site for intrabuilding comms
Dual band 144/440 MHz capable + GMRS
Power Supplies:
Samlex-1223BBM (one for each radio)
Clean emissions/light weight switcher
13.8 VDC at 23 amps
Failover to battery backup

---
Recommended Equipment (each site)
Recommended Equipment (each site)
Antennas: (Two Verticals at each site)
Hustler G6-270R 144/440 MHz dual band
100 mph wind rating
90” length / 8 dBi gain
DC ground at feed point
Installed at both sites with low-loss LMR-400 feedline/with lightning protection
Battery Backup: Absorbed Glass Mat (AGM)
Optima BlueTop Marine Battery
150 AH for Red Cross/ 75 AH at Wuesthoff
Zero Maintenance/low self discharge rate
Charge from Samlex power supply

---
Recommended Equipment (each site)
Recommended Equipment (each site)
Audio Headset/Microphone
Heil PS line (Full headset)
Foot operated Push To Talk (PTT)
Audio distribution amp and spare headset for logging ops
Speakers with volume control for each radio
DC Power Distribution
Anderson Power Pole DC distribution Box from each power supply
USB port for charging portable devices
75 Amp rated Anderson PP connection with fuse to battery and power supply

---
Recommended Equipment (each site)
Recommended Equipment (each site)
Laptop Computer
Win 10 Operating System
Radio Programming Software
Latest NBEMS software configuration
Soft copies of radio manuals/ECOM forms
Cell phone internet tethering to laptop
Rack Mount Case
Portable case for rack mount of equipment
Standard 18” shelving for equipment
LED task lighting
Antenna/power connection access in back of rack

---
Cost Estimates for Both Sites
Cost Estimates for Both Sites
Radios: Base $325 each x 4 =	$1300
HTs $25 each x 10 =	$ 250
Multimode VHF/UHF = donation
Power Supplies: $150 x 4 =	$ 600
Antennas: G6-270R $210 x 4 =	$ 840
Heil Headset & Adapters $190 x 2 =	$ 380
Laptop = Donation
Rack Mount Case: $100 x 2 =	$ 200
Feedline & Polyphasers: $200 x 4 =	$ 800
DC Distribution: $100 x 4 =	$ 400
Total (Add 10% for wire/connectors) $5247

---
Raise Your Hand If You Made An HF Phone Contact This Week

---
Raise Your Hand If You Made An HF CW Contact This Week

---
Raise Your Hand If You Made An HF QRP Contact This Week